## Assets
asset_tag | description | manufacturer | model | serial_no | location | standard | inspection_date | inspected_by | result
FD-001 | Fire door set | Skagen Doors | FD630-C | SN150631 | Block A, Level 0, Plant room | EN 16034 | 2026-10-05 | A. Lindqvist | Conforms
FD-002 | Fire door set | Skagen Doors | FD250-A | SN190122 | Block B, Roof | EN 16034 | 2026-09-27 | A. Lindqvist | Conforms
P-003 | Circulation pump | Fjordpumpe | P630-A | SN967017 | Block C, Basement | EN ISO 9906 | 2026-09-08 | M. Sørensen | Conforms
V-004 | Motorised valve | Halden Flow | V630-A | SN331821 | Block A, Level 0, Plant room | EN 12266-1 | 2026-10-06 | M. Sørensen | Conforms
FD-005 | Fire door set | Tarm Joinery | FD250-C | SN223514 | Block C, Basement | EN 16034 | 2026-09-20 | M. Sørensen | Conforms
AHU-006 | Air handling unit | Nordvent | AHU400-A | SN674351 | Block C, Level 3 | EN 13053 | 2026-09-05 | A. Lindqvist | Conforms
FCU-007 | Fan coil unit | Nordvent | FCU630-C | SN657549 | Block B, Roof | EN 1397 | 2026-09-21 | P. Okafor | Conforms
FCU-008 | Fan coil unit | Kyst Klima | FCU400-B | SN360494 | Car park, Level -1 | EN 1397 | 2026-09-12 | M. Sørensen | Conforms
AHU-009 | Air handling unit | Borealis Air | AHU630-B | SN864878 | Block B, Roof | EN 13053 | 2026-09-19 | A. Lindqvist | Conforms
AHU-010 | Air handling unit | Borealis Air | AHU250-B | SN259367 | Block B, Roof | EN 13053 | 2026-09-27 | A. Lindqvist | Conforms
V-011 | Motorised valve | Halden Flow | V400-B | SN829070 | Block B, Level 1 | EN 12266-1 | 2026-10-09 | P. Okafor | Conforms
FCU-012 | Fan coil unit | Kyst Klima | FCU100-A | SN383051 | Block B, Roof | EN 1397 | 2026-09-05 | A. Lindqvist | Conforms
V-013 | Motorised valve | Ribe Valves | V630-B | SN851438 | Block B, Roof | EN 12266-1 | 2026-09-23 | A. Lindqvist | Conforms
DB-014 | Distribution board | Sund Switchgear | DB250-C | SN222783 | Block B, Roof | EN 61439-2 | 2026-09-04 | M. Sørensen | Conforms
FD-015 | Fire door set | Skagen Doors | FD250-B | SN509940 | Car park, Level -1 | EN 16034 | 2026-10-02 | A. Lindqvist | Conforms
P-016 | Circulation pump | Halden Flow | P630-C | SN391335 | Block A, Level 2 | EN ISO 9906 | 2026-09-28 | K. Novak | Conforms
V-017 | Motorised valve | Ribe Valves | V400-C | SN498921 | Block A, Level 2 | EN 12266-1 | 2026-09-10 | A. Lindqvist | Conforms
P-018 | Circulation pump | Fjordpumpe | P250-C |  | Block A, Level 0, Plant room | EN ISO 9906 | 2026-10-02 | M. Sørensen | Conforms
FD-019 | Fire door set | Tarm Joinery | FD100-A | SN539297 | Block C, Basement | EN 16034 | 2026-09-24 | K. Novak | Conforms
P-020 | Circulation pump | Fjordpumpe | P630-C | SN936630 | Block C, Basement | EN ISO 9906 | 2026-09-26 | P. Okafor | Conforms
DB-021 | Distribution board | Sund Switchgear | DB100-B | SN765100 | Block B, Roof | EN 61439-2 | 2026-09-04 | M. Sørensen | Conforms
AHU-022 | Air handling unit | Nordvent | AHU630-A | SN215268 | Block B, Level 1 | EN 13053 | 2026-10-09 | A. Lindqvist | Conforms
AHU-023 | Air handling unit | Nordvent | AHU250-C | SN206393 | Block B, Level 1 | EN 13053 | 2026-10-10 | A. Lindqvist | Conforms
AHU-024 | Air handling unit | Nordvent | AHU630-A | SN765226 | Block B, Level 1 | EN 13053 | 2026-09-23 | K. Novak | Conforms
DB-025 | Distribution board | Elvig Electric | DB100-B | SN588625 | Block B, Roof | EN 61439-2 | 2026-10-01 | K. Novak | Conforms
AHU-026 | Air handling unit | Nordvent | AHU100-C | SN459279 | Block C, Level 3 | EN 13053 | 2026-09-17 | P. Okafor | Conforms
V-027 | Motorised valve | Halden Flow | V100-A | SN653918 | Block B, Level 1 | EN 12266-1 | 2026-09-10 | A. Lindqvist | Conforms
FCU-028 | Fan coil unit | Kyst Klima | FCU100-C | SN986516 | Block B, Level 1 | EN 1397 | 2026-10-04 | K. Novak | Conforms
P-029 | Circulation pump | Halden Flow | P250-C | SN667874 | Car park, Level -1 | EN ISO 9906 | 2026-10-03 | K. Novak | Conforms
V-030 | Motorised valve | Halden Flow | V250-A | SN958084 | Block B, Roof | EN 12266-1 | 2026-09-15 | M. Sørensen | Conforms
FCU-031 | Fan coil unit | Kyst Klima | FCU400-C | SN130387 | Block A, Level 0, Plant room | EN 1397 | 2026-09-18 | P. Okafor | Conforms
FD-032 | Fire door set | Skagen Doors | FD400-B | SN947842 | Block C, Level 3 | EN 16034 | 2026-09-23 | K. Novak | Conforms
AHU-033 | Air handling unit | Nordvent | AHU100-A | SN592914 | Block A, Level 2 | EN 13053 | 2026-09-22 | M. Sørensen | Conforms
DB-034 | Distribution board | Elvig Electric | DB630-C | SN460717 | Car park, Level -1 | EN 61439-2 | 2026-09-06 | A. Lindqvist | Conforms
DB-035 | Distribution board | Elvig Electric | DB630-A | SN555003 | Car park, Level -1 | EN 61439-2 | 2026-10-11 | K. Novak | Conforms
AHU-036 | Air handling unit | Borealis Air | AHU630-B | SN879461 | Block A, Level 0, Plant room | EN 13053 | 2026-09-11 | M. Sørensen | Conforms
P-037 | Circulation pump | Fjordpumpe | P250-C | SN587958 | Car park, Level -1 | EN ISO 9906 | 2026-09-10 | P. Okafor | Conforms
V-038 | Motorised valve | Ribe Valves | V250-C | SN674919 | Block A, Level 2 | EN 12266-1 | 2026-09-02 | A. Lindqvist | Conforms
V-039 | Motorised valve | Halden Flow | V250-B | SN304268 | Car park, Level -1 | EN 12266-1 | 2026-09-14 | A. Lindqvist | Conforms
FD-040 | Fire door set | Skagen Doors | FD400-C | SN352223 | Car park, Level -1 | EN 16034 | 2026-10-08 | K. Novak | Conforms
FD-041 | Fire door set | Tarm Joinery | FD250-A | SN875864 | Block B, Level 1 | EN 16034 | 2026-09-30 | P. Okafor | Conforms
FCU-042 | Fan coil unit | Nordvent | FCU250-C | SN635347 | Block A, Level 0, Plant room | EN 1397 | 2026-09-29 | M. Sørensen | Conforms
FCU-043 | Fan coil unit | Nordvent | FCU250-A | SN248435 | Block B, Roof | EN 1397 | 2026-10-10 | A. Lindqvist | Conforms
FCU-044 | Fan coil unit | Nordvent | FCU400-C | SN643528 | Block C, Basement | EN 1397 | 2026-10-06 | P. Okafor | Conforms
AHU-045 | Air handling unit | Nordvent | AHU250-A | SN390368 | Block A, Level 0, Plant room | EN 13053 | 2026-09-07 | P. Okafor | Conforms
FCU-046 | Fan coil unit | Nordvent | FCU100-B | SN441430 | Block C, Basement | EN 1397 | 2026-10-03 | M. Sørensen | Conforms
V-047 | Motorised valve | Ribe Valves | V630-C | SN659190 | Car park, Level -1 | EN 12266-1 | 2026-10-01 | M. Sørensen | Conforms
V-048 | Motorised valve | Ribe Valves | V250-B | SN243795 | Block B, Roof | EN 12266-1 | 2026-09-08 | P. Okafor | Conforms
DB-049 | Distribution board | Sund Switchgear | DB100-C | SN352328 | Block B, Roof | EN 61439-2 | 2026-09-05 | M. Sørensen | Conforms
V-050 | Motorised valve | Ribe Valves | V100-A | SN850906 | Block C, Level 3 | EN 12266-1 | 2026-09-24 | M. Sørensen | Conforms
FD-051 | Fire door set | Skagen Doors | FD630-A | SN882952 | Block A, Level 0, Plant room | EN 16034 | 2026-09-26 | P. Okafor | Conforms
P-052 | Circulation pump | Fjordpumpe | P250-C | SN552483 | Block C, Basement | EN ISO 9906 | 2026-09-26 | K. Novak | Conforms
DB-053 | Distribution board | Elvig Electric | DB400-B | SN196672 | Block C, Level 3 | EN 61439-2 | 2026-09-24 | A. Lindqvist | Conforms
FD-054 | Fire door set | Tarm Joinery | FD630-C | SN118960 | Block B, Roof | EN 16034 | 2026-09-22 | K. Novak | Conforms
FCU-055 | Fan coil unit | Nordvent | FCU100-A | SN209869 | Block A, Level 0, Plant room | EN 1397 | 2026-09-17 | K. Novak | Conforms
AHU-056 | Air handling unit | Nordvent | AHU400-A | SN959598 | Block B, Roof | EN 13053 | 2026-09-17 | P. Okafor | Conforms
P-057 | Circulation pump | Halden Flow | P400-A | SN392618 | Block A, Level 0, Plant room | EN ISO 9906 | 2026-09-12 | P. Okafor | Conforms
AHU-058 | Air handling unit | Borealis Air | AHU100-C | SN192868 | Car park, Level -1 | EN 13053 | 2026-09-17 | A. Lindqvist | Conforms
FCU-059 | Fan coil unit | Nordvent | FCU100-B | SN227588 | Block B, Roof | EN 1397 | 2026-09-01 | K. Novak | Conforms
FCU-060 | Fan coil unit | Kyst Klima | FCU400-C | SN235502 | Block A, Level 0, Plant room | EN 1397 | 2026-10-04 | M. Sørensen | Conforms
AHU-061 | Air handling unit | Nordvent | AHU400-A | SN289945 | Block A, Level 2 | EN 13053 | 2026-09-20 | K. Novak | Conforms
FCU-062 | Fan coil unit | Nordvent | FCU400-B | SN624380 | Block C, Level 3 | EN 1397 | 2026-09-12 | K. Novak | Conforms
FD-063 | Fire door set | Skagen Doors | FD400-A | SN116091 | Block A, Level 0, Plant room | EN 16034 | 2026-10-03 | M. Sørensen | Conforms
FCU-064 | Fan coil unit | Kyst Klima | FCU250-B | SN211444 | Block C, Level 3 | EN 1397 | 2026-09-28 | P. Okafor | Conforms
FCU-065 | Fan coil unit | Kyst Klima | FCU400-C | SN325633 | Block A, Level 2 | EN 1397 | 2026-09-22 | M. Sørensen | Conforms
V-066 | Motorised valve | Halden Flow | V630-B | SN157030 | Car park, Level -1 | EN 12266-1 | 2026-09-09 | A. Lindqvist | Conforms
AHU-067 | Air handling unit | Borealis Air | AHU630-A | SN158092 | Block A, Level 0, Plant room | EN 13053 | 2026-09-25 | K. Novak | Conforms
FCU-068 | Fan coil unit | Nordvent | FCU400-A | SN581771 | Block A, Level 2 | EN 1397 | 2026-09-11 | K. Novak | Conforms
DB-069 | Distribution board | Elvig Electric | DB400-B | SN444904 | Block C, Basement | EN 61439-2 | 2026-09-21 | M. Sørensen | Conforms
AHU-070 | Air handling unit | Borealis Air | AHU250-B | SN291845 | Block A, Level 0, Plant room | EN 13053 | 2026-09-22 | P. Okafor | Conforms
AHU-071 | Air handling unit | Borealis Air | AHU400-C | SN787884 | Block A, Level 2 | EN 13053 | 2026-09-16 | A. Lindqvist | Conforms
AHU-072 | Air handling unit | Borealis Air | AHU100-A | SN518917 | Block C, Basement | EN 13053 | 2026-09-03 | P. Okafor | Conforms
AHU-073 | Air handling unit | Borealis Air | AHU400-C | SN344118 | Block A, Level 0, Plant room | EN 13053 | 2026-10-08 | M. Sørensen | Conforms
V-074 | Motorised valve | Ribe Valves | V400-C | SN618196 | Block A, Level 2 | EN 12266-1 | 2026-09-19 | M. Sørensen | Conforms
AHU-075 | Air handling unit | Borealis Air | AHU250-C | SN889438 | Block C, Basement | EN 13053 | 2026-10-07 | A. Lindqvist | Conforms
V-076 | Motorised valve | Halden Flow | V100-A | SN143895 | Block A, Level 2 | EN 12266-1 | 2026-10-11 | K. Novak | Conforms
AHU-077 | Air handling unit | Borealis Air | AHU630-C | SN153247 | Block C, Level 3 | EN 13053 | 2026-09-02 | M. Sørensen | Conforms
DB-078 | Distribution board | Sund Switchgear | DB100-B | SN936446 | Block A, Level 0, Plant room | EN 61439-2 | 2026-10-03 | A. Lindqvist | Conforms
V-079 | Motorised valve | Halden Flow | V630-B | SN948527 | Block A, Level 0, Plant room | EN 12266-1 | 2026-09-17 | M. Sørensen | Conforms
V-080 | Motorised valve | Halden Flow | V250-C | SN781503 | Block B, Roof | EN 12266-1 | 2026-10-02 | P. Okafor | Conforms
AHU-081 | Air handling unit | Borealis Air | AHU400-A | SN746944 | Block C, Level 3 | EN 13053 | 2026-09-13 | A. Lindqvist | Conforms
FCU-082 | Fan coil unit | Nordvent | FCU400-B | SN783183 | Block C, Level 3 | EN 1397 | 2026-09-20 | M. Sørensen | Conforms
AHU-083 | Air handling unit | Borealis Air | AHU100-B | SN381828 | Block C, Level 3 | EN 13053 | 2026-09-07 | M. Sørensen | Conforms
V-084 | Motorised valve | Ribe Valves | V400-C | SN641626 | Block B, Level 1 | EN 12266-1 | 2026-09-30 | P. Okafor | Conforms
DB-085 | Distribution board | Elvig Electric | DB250-B | SN190024 | Block B, Roof | EN 61439-2 | 2026-09-02 | K. Novak | Conforms
DB-086 | Distribution board | Elvig Electric | DB630-B | SN505639 | Block A, Level 2 | EN 61439-2 | 2026-09-14 | A. Lindqvist | Conforms
FCU-087 | Fan coil unit | Nordvent | FCU250-C | SN649522 | Block B, Level 1 | EN 1397 | 2026-09-24 | M. Sørensen | Conforms
FCU-088 | Fan coil unit | Kyst Klima | FCU100-C | SN482927 | Block A, Level 2 | EN 1397 | 2026-10-02 | P. Okafor | Conforms
DB-089 | Distribution board | Elvig Electric | DB250-A | SN615580 | Block C, Level 3 | EN 61439-2 |  | P. Okafor | Conforms
FD-090 | Fire door set | Skagen Doors | FD630-B | SN494375 | Block B, Level 1 | EN 16034 | 2026-09-08 | K. Novak | Conforms
AHU-091 | Air handling unit | Borealis Air | AHU400-B | SN225872 | Block A, Level 2 | EN 13053 | 2026-09-01 | K. Novak | Conforms
FD-092 | Fire door set | Tarm Joinery | FD100-B | SN509113 | Car park, Level -1 | EN 16034 | 2026-10-08 | A. Lindqvist | Conforms
FD-093 | Fire door set | Tarm Joinery | FD400-A | SN394269 | Block A, Level 0, Plant room | EN 16034 | 2026-09-04 | K. Novak | Conforms
V-094 | Motorised valve | Halden Flow | V250-B | SN557431 | Block C, Basement | EN 12266-1 | 2026-09-21 | M. Sørensen | Conforms
FD-095 | Fire door set | Tarm Joinery | FD100-C | SN519474 | Block C, Basement | EN 16034 | 2026-10-06 | M. Sørensen | Conforms
V-096 | Motorised valve | Halden Flow | V100-C | SN530845 | Block B, Roof | EN 12266-1 | 2026-10-10 | M. Sørensen | Conforms
V-097 | Motorised valve | Ribe Valves | V630-A | SN676830 | Block A, Level 2 | EN 12266-1 | 2026-09-11 | P. Okafor | Conforms
DB-098 | Distribution board | Sund Switchgear | DB400-B | SN368165 | Block C, Level 3 | EN 61439-2 | 2026-09-17 | P. Okafor | Conforms
V-099 | Motorised valve | Halden Flow | V400-B | SN684394 | Block C, Level 3 | EN 12266-1 | 2026-09-26 | A. Lindqvist | Conforms
P-100 | Circulation pump | Fjordpumpe | P100-A | SN624922 | Car park, Level -1 | EN ISO 9906 | 2026-10-02 | M. Sørensen | Conforms
DB-101 | Distribution board | Sund Switchgear | DB630-B | SN246377 | Block C, Basement | EN 61439-2 | 2026-09-13 | M. Sørensen | Conforms
AHU-102 | Air handling unit | Nordvent | AHU400-C | SN195519 | Block B, Level 1 | EN 13053 | 2026-09-16 | K. Novak | Conforms
FD-103 | Fire door set | Skagen Doors | FD100-C | SN532832 | Block B, Roof | EN 16034 | 2026-09-27 | M. Sørensen | Conforms
DB-104 | Distribution board | Sund Switchgear | DB400-A | SN622343 | Block B, Level 1 | EN 61439-2 | 2026-10-07 | K. Novak | Conforms
P-105 | Circulation pump | Fjordpumpe | P100-B | SN360522 | Block B, Roof | EN ISO 9906 | 2026-09-26 | P. Okafor | Conforms
DB-106 | Distribution board | Sund Switchgear | DB100-A | SN133809 | Block B, Roof | EN 61439-2 | 2026-10-01 | P. Okafor | Conforms
AHU-107 | Air handling unit | Nordvent | AHU630-C | SN997017 | Block B, Roof | EN 13053 | 2026-09-29 | M. Sørensen | Conforms
AHU-108 | Air handling unit | Nordvent | AHU250-A | SN647740 | Block C, Level 3 | EN 13053 | 2026-09-07 | P. Okafor | Conforms
AHU-109 | Air handling unit | Nordvent | AHU100-A | SN343874 | Block C, Basement | EN 13053 | 2026-09-03 | K. Novak | Conforms
P-110 | Circulation pump | Halden Flow | P630-C | SN900948 | Block A, Level 0, Plant room | EN ISO 9906 | 2026-09-07 | A. Lindqvist | Conforms
FD-111 | Fire door set | Skagen Doors | FD630-B | SN334443 | Car park, Level -1 | EN 16034 | 2026-10-09 | A. Lindqvist | Conforms
AHU-112 | Air handling unit | Borealis Air | AHU630-B | SN431724 | Block C, Level 3 | EN 13053 | 2026-09-16 | P. Okafor | Conforms
FCU-113 | Fan coil unit | Nordvent | FCU250-A | SN531814 | Block C, Level 3 | EN 1397 | 2026-09-20 | A. Lindqvist | Conforms
AHU-114 | Air handling unit | Nordvent | AHU630-C | SN778605 | Block B, Roof | EN 13053 | 2026-09-06 | K. Novak | Conforms
P-115 | Circulation pump | Halden Flow | P400-A | SN616888 | Block A, Level 0, Plant room | EN ISO 9906 | 2026-09-22 | P. Okafor | Conforms
FD-116 | Fire door set | Tarm Joinery | FD250-A | SN935782 | Block B, Level 1 | EN 16034 | 2026-10-03 | A. Lindqvist | Conforms
P-117 | Circulation pump | Halden Flow | P250-B | SN903059 | Car park, Level -1 | EN ISO 9906 | 2026-09-13 | M. Sørensen | Conforms
DB-118 | Distribution board | Elvig Electric | DB400-B | SN214303 | Block C, Basement | EN 61439-2 | 2026-10-02 | M. Sørensen | Conforms
P-119 | Circulation pump | Halden Flow | P630-C | SN159157 | Block C, Basement | EN ISO 9906 | 2026-09-10 | P. Okafor | Conforms
AHU-120 | Air handling unit | Nordvent | AHU100-C | SN248804 | Block B, Roof | EN 13053 | 2026-09-04 | A. Lindqvist | Conforms
P-121 | Circulation pump | Halden Flow | P630-C | SN429462 | Block C, Level 3 | EN ISO 9906 | 2026-09-08 | A. Lindqvist | Conforms
P-122 | Circulation pump | Halden Flow | P250-A | SN784162 | Block C, Basement | EN ISO 9906 | 2026-09-30 | A. Lindqvist | Conforms
FD-123 | Fire door set | Tarm Joinery | FD400-B | SN563926 | Block A, Level 2 | EN 16034 | 2026-09-07 | A. Lindqvist | Conforms
AHU-124 | Air handling unit | Borealis Air | AHU100-B | SN540593 | Block A, Level 0, Plant room | EN 13053 | 2026-10-06 | M. Sørensen | Conforms
DB-125 | Distribution board | Sund Switchgear | DB400-B | SN192023 | Block A, Level 0, Plant room | EN 61439-2 | 2026-10-01 | M. Sørensen | Conforms
FD-126 | Fire door set | Tarm Joinery | FD250-B | SN481942 | Block C, Level 3 | EN 16034 | 2026-10-01 | A. Lindqvist | Conforms
V-127 | Motorised valve | Ribe Valves | V250-C | SN903909 | Block B, Roof | EN 12266-1 | 2026-09-03 | P. Okafor | Conforms
AHU-128 | Air handling unit | Borealis Air | AHU100-A | SN369500 | Block A, Level 2 | EN 13053 | 2026-09-05 | K. Novak | Conforms
FD-129 | Fire door set | Tarm Joinery | FD400-C | SN145702 | Block B, Level 1 | EN 16034 | 2026-09-21 | K. Novak | Conforms
FD-130 | Fire door set | Skagen Doors | FD100-A | SN966142 | Block A, Level 2 | EN 16034 | 2026-09-07 | P. Okafor | Conforms
V-131 | Motorised valve | Ribe Valves | V630-B | SN550822 | Car park, Level -1 | EN 12266-1 | 2026-10-02 | M. Sørensen | Conforms
DB-132 | Distribution board | Elvig Electric | DB100-C | SN418048 | Car park, Level -1 | EN 61439-2 | 2026-09-10 | M. Sørensen | Conforms
FD-133 | Fire door set | Tarm Joinery | FD630-B | SN921908 | Car park, Level -1 | EN 16034 | 2026-10-09 | A. Lindqvist | Conforms
FCU-134 | Fan coil unit | Nordvent | FCU630-A | SN359320 | Block B, Roof | EN 1397 | 2026-09-05 | A. Lindqvist | Conforms
DB-135 | Distribution board | Sund Switchgear | DB250-B | SN210332 | Block A, Level 0, Plant room | EN 61439-2 | 2026-09-17 | A. Lindqvist | Conforms
P-136 | Circulation pump | Fjordpumpe | P630-B | SN844249 | Block B, Roof | EN ISO 9906 | 2026-09-12 | M. Sørensen | Conforms
P-137 | Circulation pump | Halden Flow | P630-C | SN806854 | Block A, Level 2 | EN ISO 9906 | 2026-10-05 | A. Lindqvist | Conforms
FD-138 | Fire door set | Tarm Joinery | FD400-C | SN380668 | Block B, Level 1 | EN 16034 | 2026-09-17 | K. Novak | Conforms
P-139 | Circulation pump | Halden Flow | P250-A | SN357257 | Block A, Level 2 | EN ISO 9906 | 2026-09-10 | K. Novak | Conforms
FCU-140 | Fan coil unit | Nordvent | FCU400-A | SN515309 | Block B, Level 1 | EN 1397 | 2026-09-16 | M. Sørensen | Conforms
V-141 | Motorised valve | Halden Flow | V630-A | SN207303 | Block A, Level 0, Plant room | EN 12266-1 | 2026-10-01 | M. Sørensen | Conforms
DB-142 | Distribution board | Sund Switchgear | DB100-B | SN344205 | Block A, Level 0, Plant room | EN 61439-2 | 2026-09-04 | M. Sørensen | Conforms
FCU-143 | Fan coil unit | Nordvent | FCU100-B | SN637572 | Car park, Level -1 | EN 1397 | 2026-09-12 | P. Okafor | Rejected
FCU-144 | Fan coil unit | Kyst Klima | FCU100-A | SN768422 | Block C, Basement | EN 1397 | 2026-10-10 | K. Novak | Conforms
P-145 | Circulation pump | Fjordpumpe | P400-B | SN248236 | Block A, Level 0, Plant room | EN ISO 9906 | 2026-09-14 | K. Novak | Conforms
AHU-146 | Air handling unit | Nordvent | AHU100-B | SN528862 | Block C, Level 3 | EN 13053 | 2026-09-24 | M. Sørensen | Conforms
FCU-147 | Fan coil unit | Kyst Klima | FCU100-A | SN132995 | Car park, Level -1 | EN 1397 | 2026-10-02 | P. Okafor | Conforms
AHU-148 | Air handling unit | Borealis Air | AHU100-B | SN796282 | Block C, Basement | EN 13053 | 2026-09-10 | A. Lindqvist | Conforms
V-149 | Motorised valve | Halden Flow | V630-C | SN384339 | Block B, Roof | EN 12266-1 | 2026-09-19 | K. Novak | Conforms
DB-150 | Distribution board | Elvig Electric | DB400-C | SN694039 | Block B, Level 1 | EN 61439-2 | 2026-09-27 | P. Okafor | Conforms
AHU-151 | Air handling unit | Borealis Air | AHU250-B | SN863396 | Block B, Roof | EN 13053 | 2026-09-14 | A. Lindqvist | Conforms
DB-152 | Distribution board | Elvig Electric | DB630-A | SN960218 | Block A, Level 0, Plant room | EN 61439-2 | 2026-09-26 | K. Novak | Conforms
DB-153 | Distribution board | Elvig Electric | DB250-A | SN154206 | Block C, Basement | EN 61439-2 | 2026-09-10 | P. Okafor | Conforms
AHU-154 | Air handling unit | Borealis Air | AHU250-A | SN464846 | Block B, Level 1 | EN 13053 | 2026-09-11 | M. Sørensen | Conforms
AHU-155 | Air handling unit | Nordvent | AHU630-B | SN890160 | Car park, Level -1 | EN 13053 | 2026-09-13 | K. Novak | Conforms
P-156 | Circulation pump | Fjordpumpe | P630-B | SN155967 | Block C, Basement | EN ISO 9906 | 2026-10-11 | P. Okafor | Conforms
AHU-157 | Air handling unit | Nordvent | AHU250-C | SN524132 | Block C, Basement | EN 13053 | 2026-09-13 | P. Okafor | Conforms
P-158 | Circulation pump | Fjordpumpe | P100-B | SN643049 | Block A, Level 2 | EN ISO 9906 | 2026-09-25 | K. Novak | Conforms
AHU-159 | Air handling unit | Nordvent | AHU250-C | SN955270 | Block A, Level 2 | EN 13053 | 2026-09-03 | A. Lindqvist | Conforms
V-160 | Motorised valve | Ribe Valves | V100-B | SN728642 | Block B, Roof | EN 12266-1 | 2026-10-06 | K. Novak | Conforms
V-161 | Motorised valve | Ribe Valves | V400-C | SN361366 | Block B, Roof | EN 12266-1 | 2026-09-25 | K. Novak | Conforms
DB-162 | Distribution board | Sund Switchgear | DB250-A | SN103678 | Block C, Basement | EN 61439-2 | 2026-10-02 | P. Okafor | Conforms
P-163 | Circulation pump | Halden Flow | P630-A | SN949901 | Block B, Roof | EN ISO 9906 | 2026-09-26 | A. Lindqvist | Conforms
AHU-164 | Air handling unit | Nordvent | AHU400-B | SN483078 | Block A, Level 0, Plant room | EN 13053 | 2026-09-29 | A. Lindqvist | Conforms
AHU-165 | Air handling unit | Nordvent | AHU100-C | SN428965 | Car park, Level -1 | EN 13053 | 2026-10-03 | A. Lindqvist | Conforms
AHU-166 | Air handling unit | Borealis Air | AHU250-A | SN998703 | Block A, Level 0, Plant room | EN 13053 | 2026-10-10 | A. Lindqvist | Conforms
P-167 | Circulation pump | Fjordpumpe | P630-B | SN950389 | Car park, Level -1 | EN ISO 9906 | 2026-09-11 | M. Sørensen | Conforms
AHU-168 | Air handling unit | Borealis Air | AHU400-A | SN439569 | Block C, Basement | EN 13053 | 2026-09-18 | P. Okafor | Conforms
P-169 | Circulation pump | Halden Flow | P630-A | SN720639 | Block B, Level 1 | EN ISO 9906 | 2026-10-10 | M. Sørensen | Conforms
FD-170 | Fire door set | Tarm Joinery | FD100-A | SN290941 | Block B, Roof | EN 16034 | 2026-09-11 | K. Novak | Conforms
V-171 | Motorised valve | Ribe Valves | V630-A | SN930602 | Car park, Level -1 | EN 12266-1 | 2026-09-17 | A. Lindqvist | Conforms
FCU-172 | Fan coil unit | Nordvent | FCU400-B | SN682148 | Block C, Basement | EN 1397 | 2026-10-08 | A. Lindqvist | Conforms
FD-173 | Fire door set | Tarm Joinery | FD400-B | SN493991 | Block B, Level 1 | EN 16034 | 2026-10-07 | M. Sørensen | Conforms
FD-174 | Fire door set | Tarm Joinery | FD100-B | SN341222 | Block A, Level 2 | EN 16034 | 2026-10-10 | A. Lindqvist | Conforms
FD-175 | Fire door set | Tarm Joinery | FD400-C | SN714329 | Block C, Level 3 | EN 16034 | 2026-09-21 | A. Lindqvist | Conforms
V-176 | Motorised valve | Halden Flow | V250-A | SN405105 | Block C, Basement | EN 12266-1 | 2026-10-11 | P. Okafor | Conforms
DB-177 | Distribution board | Sund Switchgear | DB100-A | SN612118 | Block A, Level 2 | EN 61439-2 | 2026-10-10 | A. Lindqvist | Conforms
AHU-178 | Air handling unit | Nordvent | AHU100-C | SN472205 | Block B, Level 1 | EN 13053 | 2026-09-07 | K. Novak | Conforms
FCU-179 | Fan coil unit | Nordvent | FCU630-C | SN415783 | Block C, Basement | EN 1397 | 2026-09-09 | M. Sørensen | Conforms
FD-180 | Fire door set | Tarm Joinery | FD250-A | SN114797 | Car park, Level -1 | EN 16034 | 2026-09-16 | M. Sørensen | Conforms
DB-181 | Distribution board | Elvig Electric | DB100-C | SN251720 | Car park, Level -1 | EN 61439-2 | 2026-09-18 | P. Okafor | Conforms
FD-182 | Fire door set | Skagen Doors | FD100-C | SN960755 | Block C, Basement | EN 16034 | 2026-09-23 | P. Okafor | Conforms
FCU-183 | Fan coil unit | Kyst Klima | FCU250-A | SN100418 | Block A, Level 0, Plant room | EN 1397 | 2026-09-04 | A. Lindqvist | Conforms
DB-184 | Distribution board | Elvig Electric | DB250-A | SN161215 | Car park, Level -1 | EN 61439-2 | 2026-09-07 | A. Lindqvist | Conforms
FCU-185 | Fan coil unit | Nordvent | FCU250-B | SN309210 | Block C, Basement | EN 1397 | 2026-10-09 | P. Okafor | Conforms
FCU-186 | Fan coil unit | Nordvent | FCU400-A | SN414851 | Block C, Level 3 | EN 1397 | 2026-09-04 | P. Okafor | Conforms
V-187 | Motorised valve | Halden Flow | V630-B | SN881385 | Block B, Roof | EN 12266-1 | 2026-09-06 | P. Okafor | Conforms
P-188 | Circulation pump | Fjordpumpe | P100-B | SN343580 | Block C, Level 3 | EN ISO 9906 | 2026-09-03 | A. Lindqvist | Conforms
FD-189 | Fire door set | Tarm Joinery | FD100-B | SN766753 | Block C, Basement | EN 16034 | 2026-09-28 | K. Novak | Conforms
FD-190 | Fire door set | Skagen Doors | FD100-C | SN115967 | Block A, Level 2 | EN 16034 | 2026-09-17 | M. Sørensen | Conforms
V-191 | Motorised valve | Halden Flow | V250-C | SN442749 | Block A, Level 2 | EN 12266-1 | 2026-09-25 | K. Novak | Conforms
FCU-192 | Fan coil unit | Nordvent | FCU630-C | SN826498 | Block C, Level 3 | EN 1397 | 2026-10-05 | P. Okafor | Conforms
DB-193 | Distribution board | Elvig Electric | DB100-B | SN859822 | Block A, Level 2 | EN 61439-2 | 2026-10-07 | K. Novak | Conforms
P-194 | Circulation pump | Halden Flow | P100-C | SN279879 | Block A, Level 2 | EN ISO 9906 | 2026-09-03 | A. Lindqvist | Conforms
AHU-195 | Air handling unit | Nordvent | AHU250-B | SN248731 | Block C, Level 3 | EN 13053 | 2026-09-02 | A. Lindqvist | Conforms
AHU-196 | Air handling unit | Nordvent | AHU100-C | SN171122 | Block C, Level 3 | EN 13053 | 2026-09-03 | A. Lindqvist | Conforms
FCU-197 | Fan coil unit | Kyst Klima | FCU250-C | SN796425 | Block A, Level 0, Plant room | EN 1397 | 2026-09-25 | A. Lindqvist | Conforms
P-198 | Circulation pump | Fjordpumpe | P250-A | SN135505 | Block A, Level 0, Plant room | EN ISO 9906 | 2026-10-11 | A. Lindqvist | Conforms
V-199 | Motorised valve | Ribe Valves | V630-A | SN239097 | Block A, Level 0, Plant room | EN 12266-1 | 2026-09-14 | K. Novak | Conforms
FD-200 | Fire door set | Tarm Joinery | FD630-B | SN121934 | Block B, Level 1 | EN 16034 | 2026-09-17 | K. Novak | Conforms

## Read me
DEMO ONLY: every asset, company and person in this file is made up.
One row = one asset = one certificate.
The column names in row 1 are the names used in the Word template, e.g. {{ asset_tag }}.
Add, remove or rename columns freely, as long as the template uses the same names.
A certificate is only made when 'result' is Conforms and no cell in the row is empty.
Rows 19, 90 and 144 are left incomplete or rejected on purpose, to show what happens.